## Sheet1
Method | Ex. Instrument | Precise | Accurate | Reliable/Robust | Complexity | Ease of use | Measuring at source (TB) | Measuring at source (OB)
FSN | AVL 415SE | 1 sigma (+/- 0.05 FSN/st+6% of measured value in FSN | Pending (work on reference method/source)? | High (5 of 5) | Low | High | Yes | Yes
PAS | MSS; PAX | 5~6% | Pending | Medium (4 of 5) | Relatively low | Relatively high | Yes | Yes, but harder
LII | ARTIUM LII-300 | 5% | Pending | Pending (2 of 5)? | Low | Relatively high | Yes | Yes, but harder
MAAP | Thermofisher 5012 | Med | Instument 12% dilution uncertainty can be high | No (dilution effects) | No | No due to dilution | Yes, with dilution | No because of dilution
TOA | Sunset Labs 4L | Varies (sampling, sample handling, protocols, split points) | Varies (across labs) | Varies (not for HFO plus 2 strokes) | No | No | Yes | Medium
Method | Ex. Instrument | Int'l std exists | Int'l std be est/adapt. | Dynamic range | Comm. Avail. | Vetted and used | Real-time measurements | Appropriate for PPR 5?
FSN | AVL 415SE | Yes | N/A | 20 ug~32 g/m3 | Yes | Yes | No | Yes
PAS | MSS; PAX | No | Yes, can adapt | 1 ug~50mg/m3 | Yes | Yes | Yes | Yes
LII | ARTIUM LII-300 | No | Yes, can adapt | 1 ug~20 g/m3 | Yes | Researchers only, more data needed? | Yes | Yes
MAAP | Thermofisher 5012 | No | Not easily | 0-30 ug/m3 (up to 180 ug/m3 in maximum) | Yes | Researchers only | Not practically | No
TOA | Sunset Labs 4L | Yes/Multiple | Could be adjusted | High (concentration, sampling time, dilution dependent) | Yes | Yes | No | No